## Cover Page
Where possible Source LDPath will complete as many tests on their sites as possible to ensure the efficiency and high quality reporting for their clients. Due to the varied nature of diagnostic cellular pathology not all tests requested by Clients or our reporting Pathologists can be completed on site.
This spread sheet outlines the tests which are completed across our offered scope of activity including those carried out by a third party.
The two sites which offer diagnostic cellular pathology tests are Orchard Place (OP) at Nottingham and The Courtyard Laboratory (TCL) at Chichester. The sheet will refer to the abbreviations in the majority of cases when designating sites.
There are lists for the internal tests which are completed on the designated sites, which will indicate the name of the test, the in house validation number, whether participating in a designated external quality assurance scheme, the equipment used, the internal document reference and whether it is within an ISO 15189 accredited scope. Where the phrase "Subject to ETS application and assessment" is seen, this means that the test is in the process of being added to the scope of accredited practice. At the minimum it will be at an application submitted stage through to pending clearance by the accreditation.
For outsourced testing the different sites vary due to the nature of their operation, OP utilises a single third party HSL and the tests are listed as such. For TCL there a re different third party involvement, but the tests and supplier are matched and listed.
All of the external suppliers have been through an internal supplier review process which is reviewed at regular intervals as determined by risk.
To note - The Laboratory Information Management System which is employed at both sites does not have the function currently to provide reference to where a names tests may be completed. This spreadsheet can be used to determine the location of testing.

## Internal OP
Test | Within Scope | Validation Number | Equipment Used | Reference SOP | EQA
Routine
Haematoxylin and Eosin | Yes | VAL-829 | Sakura Prisma Stainer | ONC-SOP-75 | UK NEQAS Cellular Pathology Technique
Special Stains
Alcian Blue | Yes | VAL-892 | Atom test Kit | ONC-SOP-12 | UK NEQAS Cellular Pathology Technique
Alcian Blue PAS | Yes | VAL-797 | Atom test kit | ONC-SOP-105 | UK NEQAS Cellular Pathology Technique
Alcian Blue PASD | Subject to ETS application and assessment | VAL-915 | Atom test Kit | ONC-SOP-133 | UK NEQAS Cellular Pathology Technique
PAS | Yes | VAL-738 | Atom test kit | ONC-SOP-25 | UK NEQAS Cellular Pathology Technique
EVG | Yes | VAL-799 | Atom test Kit | ONC-SOP-16 | UK NEQAS Cellular Pathology Technique
DPAS | Yes | VAL-738 | Atom test kit | ONC-SOP-26 | UK NEQAS Cellular Pathology Technique
Gram | Subject to ETS application and assessment | VAL-870 | Atom test Kit | ONC-SOP-18 | UK NEQAS Cellular Pathology Technique
Masson Trichrome | Subject to ETS application and assessment | VAL-890 | Atom test kit | ONC-SOP-22 | UK NEQAS Cellular Pathology Technique
ZN | Subject to ETS application and assessment | VAL-782 | Atom test Kit | ONC-SOP-32 | UK NEQAS Cellular Pathology Technique
HVG | Subject to ETS application and assessment | VAL-923 | Atom test kit | ONC-SOP-20 | UK NEQAS Cellular Pathology Technique
Grocott | Subject to ETS application and assessment | VAL-907 | Atom test Kit | ONC-SOP-19 | UK NEQAS Cellular Pathology Technique
Congo Red | Subject to ETS application and assessment | VAL-891 | Atom test kit | ONC-SOP-15 | UK NEQAS Cellular Pathology Technique
Masson Fontana | Subject to ETS application and assessment | VAL-908 | Atom test Kit | ONC-SOP-21 | UK NEQAS Cellular Pathology Technique
Perls | Subject to ETS application and assessment | VAL-871 | Atom test kit | ONC-SOP-27 | UK NEQAS Cellular Pathology Technique
IHC
AE1/AE3 | Yes | VAL-896 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
ALK | Subject to ETS application and assessment | VAL-441 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Berep4 | Subject to ETS application and assessment | Val-536 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD2 | Subject to ETS application and assessment | Val-564 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD3 | Yes | VAL-877 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD10 | Yes | VAL-878 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD20 | Subject to ETS application and assessment | VAL-879 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD31 | Subject to ETS application and assessment | VAL-880 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD34 (Qblend) | Yes | Val-544 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD45 | Subject to ETS application and assessment | VAL-881 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD68 (KPi) | Subject to ETS application and assessment | Val-538 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CK5 | Subject to ETS application and assessment | VAL-893 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CK5/6 | Yes | Val-557 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CK7 | Yes | VAL-894 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CK14 | Yes | Val-555 | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
Cyclin D1 | Subject to ETS application and assessment | Val-569 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
HER2 (Gastric) | Yes | VAL-698 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
HER2 (Breast) | Yes | VAL-282/ 479 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
HMB45 | Yes | VAL-868 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
HMB45 RED | Yes | VAL-869 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Ki67 (MIB1) | Yes | VAL-287 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Melan A | Yes | VAL-924 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Melan A red | Yes | VAL-925 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Oestrogen Receptor (ER) | Yes | Val-282 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
PRAME | Subject to ETS application and assessment | VAL-964 | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
Progesterone Receptor (PR) | Yes | VAL-282 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
P63 | Yes | VAL-526 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
SOX10 | Subject to ETS application and assessment | VAL-865 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
SOX10 RED | Subject to ETS application and assessment | VAL-866 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
S100 | Yes | VAL-867 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
SMA | Yes | VAL-882 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
SMM | Yes | VAL-883 | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
TTF1 | Yes | Val-540 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
ALK-1 | Subject to ETS application and assessment | Val 1047 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
BETA-Catenin | Subject to ETS application and assessment | Val 1044 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
BCL-2 (EP36) | Subject to ETS application and assessment | Val 1049 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Calponin | Yes | VAL-979 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
Calretinin | Yes | VAL-998 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD8 | Subject to ETS application and assessment | Val 1053 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD31 | Yes | VAL-880 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD34 | Yes | VAL-975 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD5 | Subject to ETS application and assessment | Val 1054 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD56 (MRQ-42) | Subject to ETS application and assessment | Val 1046 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD63 | Yes | VAL-990 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
CD68 | Yes | VAL-976 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CD117 (ep10) | Subject to ETS application and assessment | Val 1048 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CEA | Yes | VAL-999 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CK5/6 | Yes | VAL-988 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CK7 | Yes | VAL-1003 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
CK8/18 | Yes | VAL-980 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
CK20 | Yes | VAL-1002 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Chromogranin (LK2H10) | Yes | Val 1043 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Desmin | Yes | VAL-1008 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
E-Cadherin | Yes | VAL-981 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
ERG (ep111) | Subject to ETS application and assessment | Val 1051 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
EMA | Yes | VAL-1017 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
EpCAM (BerEP4) | Yes | VAL-1000 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
(O)estrogen Receptor (ER) | Yes | VAL-982 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Factor XIIIa | Yes | VAL-1009 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
GCDFP-15 | Yes | VAL-983 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
H.Pylori | Yes | VAL-989 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
Ki67 (MIB1) | Yes | VAL-984 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Melan A | Yes | VAL-991 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Melanosome (HMB45) | Yes | VAL-992 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
P16 | Yes | VAL-978 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
P40 | Yes | VAL-986 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
PAX8 (ep298) | Subject to ETS application and assessment | Val 1052 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
Podoplanin | Yes | VAL-1001 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Pan Cytokeratin (AE1/AE3) | Yes | VAL-1004 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Progesterone Receptor (PR) | Yes | VAL-987 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
S100 | Yes | VAL-867 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Smooth Muscle Actin | Yes | VAL-977 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Smooth Muscle Myosin | Yes | VAL-985 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
SOX10 | Yes | VAL-993 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Synaptophysin (BS15) | Subject to ETS application and assessment | Val 1042 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
Vimentin | Yes | VAL-1006 | Sakura Genie Platform | ONC-SOP-137 | Proficiency Testing Under Review
WT1 Protein (CP122) | Subject to ETS application and assessment | Val 1050 | Sakura Genie Platform | ONC-SOP-137 | UKNEQAS Immunocytochemistry and ISH
In Situ Hybridisation
HER2 Breast (FISH) | Yes | VAL-252 and VAL-802 | Cytocell Method | ONC-SOP-90, 93 | UKNEQAS Immunocytochemistry and ISH
HER2 Gastric (FISH) | Yes | VAL-252 and VAL-802 | Cytocell Method | ONC-SOP-90, 93 | UKNEQAS Immunocytochemistry and ISH
HER2 Breast (DDISH) | Subject to ETS application and assessment
Molecular
KRAS | Subject to ETS application and assessment | VAL-1010 | NGS | Various Used in Whole Method | GenQA
NRAS | Subject to ETS application and assessment | VAL-1011 | NGS | Various Used in Whole Method | GenQA
BRAF | Subject to ETS application and assessment | VAL-1012 | NGS | Various Used in Whole Method | GenQA
EGFR | Subject to ETS application and assessment | VAL-1013 | NGS | Various Used in Whole Method | GenQA
MLH1 | No |  | Pyrosequencing - Q24 | Various Used in Whole Method | GenQA
MSI | No |  | Idylia | Various Used in Whole Method | GenQA

## Internal (TCL)
Test | Within Scope | Validation Number | Equipment Used | Reference SOP | EQA
Routine
Haematoxylin and Eosin | Yes | VAL-939 | Leica Histocore Spectra | TCL-SOP-21 | UK NEQAS Cellular Pathology Technique
|  | VAL-939 | Leica Spectra CV Coverslipper | TCL-SOP-21 | UK NEQAS Cellular Pathology Technique
|  | VAL-955/6 | Leica ST5020 | TCL-SOP-23 | UK NEQAS Cellular Pathology Technique
|  | VAL-955/6 | CV5030 Coverslipper | TCL-SOP-23 | UK NEQAS Cellular Pathology Technique
Special Stains
Alcian Blue | Yes | VAL-937 | Leica ST5020 | TCL-SOP-17 | Proficiency Testing Under Review
Alcian Blue PAS | Yes | VAL-838 | Leica ST5020 | TCL-SOP-42 | UK NEQAS Cellular Pathology Technique
Alcian Blue PASD | Yes | VAL-838 | Leica ST5020 | TCL-SOP-42 | Proficiency Testing Under Review
PAS | Yes | VAL-836 | Leica ST5020 | TCL-SOP-40 | Proficiency Testing Under Review
EVG | Yes | VAL-1011 | Leica ST5020 | TCL-SOP-34 | UK NEQAS Cellular Pathology Technique
DPAS | Yes | VAL-837 | Leica ST5020 | TCL-SOP-41 | UK NEQAS Cellular Pathology Technique
Gram | Subject to ETS application and assessment | VAL-1023 | Leica ST5020 | TCL-SOP-10 | UK NEQAS Cellular Pathology Technique
Masson Trichrome | Subject to ETS application and assessment | VAL-1025 | Leica ST5020 | TCL-SOP-59 | UK NEQAS Cellular Pathology Technique
Giemsa | Subject to ETS application and assessment | VAL-1031 | Leica ST5020 | TCL-SOP-61 | Proficiency Testing Under Review
ZN | Subject to ETS application and assessment | VAL-1024 | Leica ST5020 | TCL-SOP-58 | UK NEQAS Cellular Pathology Technique
Reticulin | Yes | VAL-965 | Leica ST5020 | TCL-SOP-45 | UK NEQAS Cellular Pathology Technique
Congo Red | Subject to ETS application and assessment | VAL-1070 | Leica ST5020 | TCL-SOP-67 | UK NEQAS Cellular Pathology Technique
Perls | Yes | VAL-938 | Leica ST5020 | TCL-SOP-33 | UK NEQAS Cellular Pathology Technique
Toluidine Blue | Subject to ETS application and assessment | VAL-TOLB | Leica ST5020 | TCL-SOP-70 | Proficiency Testing Under Review
Colloidal Iron | Subject to ETS application and assessment | VAL-CI | Leica ST5020 | TCL-SOP-73 | Proficiency Testing Under Review
IHC
AE1/AE3 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
Ber-EP4 | Subject to ETS application and assessment | VAL-945 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CD3 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CD10 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CD20 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CD31 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CD34 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CD68 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CK5/6 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH /NordiQC
CK20 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
CK7 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
Desmin | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
EMA | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
HMB45 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
HMB45 RED | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
Ki67 (MIB1) | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH + NordiQC
Melan A | Yes | VAL-834/5 VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
Melan A red | Yes | VAL-834/5 VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
PRAME | Yes | VAL-919 | Leica Bond Max | TCL-SOP-39 | NordiQC
P16 | Subject to ETS application and assessment | VAL-1018 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH and NordiQC
P40 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | NordiQC
P63 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
SOX10 | Subject to ETS application and assessment | VAL-966 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH + NordiQC
SOX10 RED | Subject to ETS application and assessment | VAL-966 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
S100 | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
SMA | Yes | VAL-1012 | Leica Bond Max | TCL-SOP-39 | UKNEQAS Immunocytochemistry and ISH
Antibodies
AE1/AE3 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Calponin | No | VAL-CALP | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
CD3 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD10 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD20 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD31 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD34 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CD45 | No | VAL-CD45 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CK5 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH / NordiQC
CK7 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
CK14 | No | VAL-CK14 | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
E Cadherin | No | VAL-ECAD | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
ER | No | VAL-ER | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
Factor 13a | No | VAL-F13 | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
GATA-3 | No | VAL-GATA | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
H. Pylori | No | VAL-HP | Ventana Ultra | ONC-SOP-92 | Proficiency Testing Under Review
Ki67 (MIB1) | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH + NordiQC
P53 | No | VAL-P53 | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
PR | No | VAL-PR | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
PRAME | No | VAL-PRAMEV | Ventana Ultra | ONC-SOP-92 | NordiQC
SOX10 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH + NordiQC
S100 | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
SMA | No | VAL-VENT | Ventana Ultra | ONC-SOP-92 | UKNEQAS Immunocytochemistry and ISH
SMMS-1 | No | VAL-SMMS | Ventana Ultra | ONC-SOP-92 | NordiQC

## Outsourced OP
Orchard Place (Nottingham) provide a comprehensive repertoire of antibodies, those which are not within that repertoire are outsourced to Health Service Laboratories (HSL) as part of an approved supplier process. This list is provided below.
IHC | 0-9 | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | R | S | T | U | V | W | Z | Routine Double Stains | Special Stains
HSL test list | 34βE12 (CK HMW) | ACTH | bAPP (Test Withdrawn) | CA19.9 | DBA44 | E2F3 * | Factor VIII (vWF) | Galectin | HBcAg * | ICOS * | J chain * | Kappa | L1 (CD171, L1-CAM) * | M30 cytodeath * | Napsin A | OCT--2 | P24 (HIV P24) * (test currently unavailable) | RCC | SALL4 | TAL 1B5 (HLA-DR) | Uroplakin-II * | VEGF * |  | ZAP70 | CK7/TTF1 (Lung)* | Elastin H&E – Special Stain
| 3β-HSD | Adenovirus* (not available as referral test) | BAP1* | CA125 | DOG-1 | EBV (LMP) | Fascin | Gastrin | HBME-1 | IDH1 (test currently unavailable) |  | Kappa (Plasma Cells) | Lambda | Mammaglobin * (test currently unavailable) | Nestin * | OCT-3/4 | p27 * | Ret 40f (Glycophorin C) | SATB2* | TCR-Beta (Beta F1) * |  | VS38c |  |  | CK5/p63 (Lung)* | Fouchet – Special Stain
|  | AFP | bcl-2 (E17) * | CA-IX | DRG-1 | EGFR (HER1) (Test currently unavailable) | FoxP3 * | GATA-3 | HBsAg * | IgA |  | KSHV (HHV8) | Lambda (Plasma Cells) | Mast cell tryptase | Neurofilament (NFP) | Osteopontin | p53 (DO7) | ROS1 * | Sarcomeric Actin * | Tdt |  | VZV |  |  | CK5/p63/AMACR (Prostate)* | Giemsa – Special Stain
|  | ALK-1 (Lymphoma) | bcl-6 | Calcitonin |  | ER (6F11) | FSH | GCET-1 * | h-caldesmon | IgD |  |  | Laminin * | MDM2 (Test Withdrawn - Please Request FISH) | Neutrophil elastase |  | p57 | RAD51 | Serotonin (5HT) | Thyroglobulin |  | VEGF-C |  |  |  | Gordon and Sweet (Retic) – Special Stain
|  | Alpha-1-anti-chymotrypsin * (test currently unavailable) | bcl-10 | CAM 5.2 |  | ER (SP1) (default test if not specified) |  | GFAP | HCG | IgG |  |  | Langerin * | Mesothelin | NKX3.1 |  | Pancreatic polypeptide * |  | SMAD4 * | TIA-1 * |  | VEGF-D |  |  |  | Martius Scarlet Blue (MSB) – Special Stain
|  | A: Alpha-1-anti-trypsin *; B: BLIMP-1 *; C: CD1a; E: E2F3; G: Glucagon; H: Hemaglobin; I: IgG2 *; L: LFABP *; M: MGMT *; N: NSE; P: Parvovirus; S: Somatostatin; T: TP (Treponema pallidum) * |  | Miller’s Elastic Van Gieson (EVG) – Special Stain
|  | A: AMACR (P504S, Racemase); B: BOB-1; C: CD2AP *; E: EGFR (Conc); G: Glut-1 *; H: HMA; I: IgG4 *; L: LH *; M: MNF116; P: PAX-2; S: SOX10; T: TRAP |  | Orcein – Special Stain
|  | A: AMACR/p63 cocktail; B: BRAF V600E *; C: CD4; E: ELAV-1; G: Glutamine Synthetase *; H: HMFG2 *; I: IgM; L: Lysozyme; M: MOC31; P: PAX-5 *; S: SOX11; T: Trypsin * |  | Periodic Acid-Methenamine Silver (PAMS) - Special Stain
|  | A: Amyloid A*; B: BSEP *; C: CD7; E: EN2; G: Glypican 3; H: HPV *; I: Inhibin; L: LIF; M: MUC-1; P: PD1 *; S: STAT6; T: TSH |  | Phosphotungstic Acid Haematoxylin – Special Stain
|  | A: Androgen Receptor; B: BRAF V600E; C: CD11c; G: Granzyme B; H: HSA (HepPar1); I: Insulin; L: LM02; M: MUC-2; P: PD-L1 (22C3); S: Serpina3; T: TTF-1 (8G7G3/1) |  | Rhodanine – Special Stain
|  | A: Annexin *; B: BRCA1; C: CD13 *; G: Growth Hormone; H: HSVI; I: IRTA-1 *(test currently unavailable); M: MUC-4; P: PD-L1 (28-8)*; S: Sox-5; T: TDP-1 |  | Sirius Red – Special Stain
|  | A: AP-G2 *; B: BRD-1; C: CD14; G: Glutamine synthetase; H: HSVII (Test Withdrawn); I: I-CAM 1; M: MUC-5AC; P: PD-L1 (SP142)*; T: TOPO-I |  | Southgate’s Mucicarmine – Special Stain
|  | A: Arginase; C: CD15; G: GSTP-1; H: Haemoglobin gamma; I: IGF-1R; M: MUC-6; P: Perforin; T: TYRO3 |  | Toluidine Blue – Special Stain
|  | A: ABCG2; C: CD16; H: HIF-1a; I: IL-6R; M: MUM-1; P: PGP9.5 |  | Victoria Blue – Special Stain
|  | A: AIMP-3 (EEF1E1); C: CD19; H: HIG-2; I: IL-7; M: Myeloperoxidase; P: PLAP |  | Von Kossa – Special Stain
|  | A: Annexin A5; C: CD21; H: HOXA10; I: IL-8; M: MYO D1; P: Prolactin |  | Wade Fite – Special Stain
|  | A: Aprataxin; C: CD22; M: Myogenin; P: Prostein (P501S) |  | Warthin and Starry – Special Stain
|  | Aromatase (CYP19, P-23) |  | CD23 | [9 empty] | Myoglobin |  |  | PSA
|  |  |  | CD25 | [9 empty] | MCP-1 |  |  | PSAP
|  |  |  | CD27 * (test currently unavailable) | [9 empty] | MMP-7 |  |  | PSMA *
|  |  |  | CD28 * | [9 empty] | MMP-9 |  |  | PTEN
Key Notes |  | C: CD30; M: MMP-10; P: PTH *
|  |  |  | CD33 | [9 empty] | MMP-14 |  |  | PARP-1
|  |  |  | CD35 * | [9 empty] | MRE11a |  |  | PD-L1 (E1L3N)
|  |  |  | CD38 | [9 empty] | MSR-1 |  |  | Phospho AKT
|  |  |  | CD40 | [12 empty] | Phospho MTOR
|  |  |  | CD43 | [12 empty] | Phospho Rb
|  |  |  | CD44v6 * | [12 empty] | pIGF-1R
|  |  |  | CD45RO | [12 empty] | PIK3IP-1
|  |  |  | CD52 * | [12 empty] | PNMA2
CD54 *
CD57 (HNK-1, LEU7)
CD61
CD68 (PGM1)
CD71 *
CD79a
CD99
CD103
CD105 *
CD123
CD138
CD163
CD235a (GLYCOPHORIN A)
CDK4 (Test Withdrawn - Please Request FISH)
CDX2
CEA monoclonal
Chymotrypsin *
CK8
CK17
CK19
CMV
C-MYC
Collagen IV
COX-2
CRP *
CXCL-13 *
Cyclin A *
Cyclin D2 *
Cadherin 6
CD9
CD147
CXCL12
CXCR4
Note from Supplier
*are currently outside of our scope of UKAS/ISO 15189:2022 accreditation. The majority of these are research use only (RUO) antibodies that have clinical utility. These antibodies have been verified in HSL Advanced Diagnostics, to reflect clinical use. However the expected staining characteristics have not been formally validated by the manufacturer. We are committed to using CE-IVD or FDA-approved methodologies whenever possible and update our antibody stock when these become available. New tests that come on line will be assessed as part of the next assessment cycle and will form part of our updated UKAS accreditation scope following successful assessments.

## Outsourced TCL
Outsourced tests provided to TCL per approved supplier
Synnovis | Royal National Orthopaedic Hospital NHS Trust | Health Services Laboratory (HSL) | Royal Marsden | Advanced Histopathology Laboratory (AHL) | Viapath | Liverpool School of Tropical Medicine
PCR - T Cell Clonality | NTRK IHC | IHC Tests | DNA NGS Panel | MSB | Adipophilin | Leshmania PCR
PCR - B Cell Clonality | NTRK Fish | ALK-1 (Lung - D5F3) IHC | RNA NGS Panel | Thioflavin T | Collodial Iron
| USP6 Fish | ALK-1 (Lung - D5F3) IHC (Reported) |  | Von Kossa
ALK-1 (Lymphoma - 1A4) IHC
Androgen Receptor (AR) IHC
AMACR (P504S, Racemase) IHC
BCL-2 IHC
BCL-6 IHC
Beta catenin IHC
BRAF V600E (Reported) IHC
BRAF V600E IHC
Calretinin IHC
CD1a IHC
CD2 IHC
CD4 IHC
CD5 IHC
CD7 IHC
CD8 IHC
CD11c IHC
CD13 IHC
CD14 IHC
CD15 IHC
CD16 IHC
CD21 IHC
CD22 IHC
CD23 IHC
CD25 IHC
CD27 IHC
CD28 IHC
CD30 IHC
CD33 IHC
CD35 IHC
CD38
CD43
CD44
CD52
CD54
CD56 ( N- CAM )
CD57 (HNK -1 , LEU7)
CD61
CD71
CD79a
CD99
CD103
CD105
CD117
CD123
CD138
CD163
Cyclin A
CyclinD1
CK8
CK17
CK19
34BE12
CAM 5.2
MNF116
EBER
fibrinogen
GLUT 1
Granenzyme B
Caldesmon
HHV8
Her -2
IgA
IgD
IgG IHC
IgG4 IHC
IgM IHC
Kappa IHC
Kappa (plasma cells) IHC
Lambda IHC
Lambda (plasma cells) IHC
Langerin
Mast Cell Tryptase (MCT) IHC
MMR IHC (reported)
MMR (MLH1) IHC
MMR (MSH2) IHC
MMR (MSH6) IHC
MMR (PMS2) IHC
MUM -1
Myogenin IHC
Neurofilament Protein (NFP) IHC
PAX -2
PAX- 5
PAX- 8
PD-L1 (22C3) IHC
PD-L1 (22C3) IHC (Reported)
PD-L1 (28-8) IHC
PD-L1 (28-8) IHC (Reported)
PD-L1 (SP142) IHC
PD-L1 (SP142) IHC (Reported)
PDL1 IHC
ROS1 IHC
STAT6 IHC
Synaptophysin IHC
Vimentin IHC
Wilms Tumor-1 (WT-1) IHC
Flurosence In - Situ Hybridisation
Melanoma FISH (RREB1/CCND1/MYB/CEP6) probes
MDM2/CEP12 – Oncology FISH probe (Amplification)
Special Stains
Grocott’s Silver (GMS) – Special Stain
Masson Fontana – Special Stain
Von Kossa – Special Stain
Wade Fite – Special Stain
Warthin and Starry – Special Stain
HPV RNAscope High & Low Risk (CISH)
Molecular pathology
EGFR mutation